## 400 SCFM (hidden)
Burnham RNG CAPEX model | Component | Cost | Notes |  | Equipment
Unit: 400 SCFM | Construction
| General Requirements | 550000 |  |  | BU GEN | 65000
| Survey/Inspection | 140000 |  |  | Flare | 250000
| Structural Concrete | 120000 |  |  | Sales Gas Compressor | 500000
| Structural & Misc metals | 70000
| Specialties/Painting | 7500
| Signage | 5000
| Building Systems | 90000
| Fire suppression | 50000 |  |  |  | 815000
| Plumbing | 10000
| Electrical System | 1900000 | Including Switchgear, ATS, and all panels
| General Civil Work | 130000
| Site Utilities | 115000 | Not interconnect
| Plant Controls Install | 415000
| Process Piping & Plant Equipment (Labor & material) | 1200000 |  | 0.092057
| Underground obstruction Allowance | 380000
| Soil treatment Allowance | 100000
| Other allowances | 100000 | Site improvements
Other allowances
Contingency
| Overhead | 161475 | 3% of GC costs
| Contractor Fee | 430600 | 8% of GC Costs
| Construction Subtotal | 5974575
Interconnections
| Natural gas Interconnect | 1600000
| Electricity Interconnect | 300000
| Permanent Internet | 60000
| Interconnections Subtotal | 1960000
Permitting
| Various Permits | 50000
| Permitting Subtotal | 50000
Totals
| Total Costs for Construction | #REF!

## 800 SCFM (hidden)
Burnham RNG CAPEX model | Component | Cost | Notes |  | Equipment
Unit: 800 SCFM | Equipment
| Owner supplied equipment | 3600000 | GUU |  | BU GEN | 65000
| Contractor Supplied Equipment | 863900 | Flare, BU generator, product gas compressor (6% mark up) |  | Flare | 250000
| Gas Cromatograph (If required) |  | 300000 |  | Sales Gas Compressor | 500000
| Other |  | NRU, Liquids receiving, blending skid, ETC
Other
Other
Other
| Equipment subtotals | 4463900 |  |  |  | 815000
Engineering
| BOP Engineering | 298728.75 | 5% of GC Cost
Other Engineering
| Engineering Subtotal | 298728.75
Construction
| General Requirements | 550000 |  | 0.092057
| Survey/Inspection | 140000
| Structural Concrete | 120000
| Structural & Misc metals | 70000
| Specialties/Painting | 7500
| Signage | 5000
| Building Systems | 90000
| Fire suppression | 50000
| Plumbing | 10000
| Electrical System | 1900000 | Including Switchgear, ATS, and all panels
| General Civil Work | 130000
| Site Utilities | 115000 | Not interconnect
| Plant Controls Install | 415000
| Process Piping & Plant Equipment (Labor & material) | 1200000
| Underground obstruction Allowance | 380000
| Soil treatment Allowance | 100000
| Other allowances | 100000 | Site improvements
Other allowances
Other allowances
| Overhead | 161475 | 3% of GC costs
| Contractor Fee | 430600 | 8% of GC Costs
| Construction Subtotal | 5974575
Interconnections
| Natural gas Interconnect | 1600000
| Electricity Interconnect | 300000
| Permanent Internet | 60000
| Interconnections Subtotal | 1960000
Permitting
| Various Permits | 50000
| Permitting Subtotal | 50000
Totals
| Total Costs for Construction | 12747203.75

## Instructions
How to Use This Excel File Welcome to Capex Model V2! This Excel file is designed to help you efficiently plan and estimate costs for your gas upgrading unit project. Below are detailed instructions on how to use each section of the file. PFD INPUTS Sheet 1: "Pretty Picture" DO NOT CHANGE OTHER SHEETS This sheet contains a flow diagram with 11 inputs and 7 optional inputs. Follow the steps below to complete the inputs: Date of Model: Go to data and click refresh all - then type out todays date FID Date: Type out the FID date (Final Investment Decision) in the designated cell to calculate escalation assuming a 3.5% inflation rate. Size of Gas Upgrading Unit: Select the appropriate size from the dropdown menu. Gas Chromatograph: Choose whether a gas chromatograph is needed from the dropdown menu. Flare: Indicate if a flare is needed. If yes, select either "Enclosed" or "Candlestick" flare from the dropdown menu. Product Gas Compressor: Specify if a compressor is needed. If yes, input the required PSI (Pounds per Square Inch). Backup Generator: Decide if a backup generator is needed and select the appropriate option from the dropdown menu. Location of the Project: Input the state where the project is located. Tax Exempt Status: Indicate if the project is tax exempt to calculate the sales tax accordingly. SUMMARY OF COSTS To the side of the flow chart, you will find a summary of costs that automatically calculates based on your inputs. TABLE INPUTS Additional Equipment: Input the cost of any additional equipment, including spare parts, freight, and commissioning. Additional Direct Costs: Enter the costs for complete quotes received from vendors. Interconnect: Enter the interconnect facility estimate and the lateral distance in miles. Dev Fee: Enter the Dev Fee NOTES Ensure all dropdown selections and inputs are completed accurately to get precise cost calculations. Review the summary of costs to verify all entries and calculations. Thank you for using this tool. If you have any questions or need further assistance, please reach out to Gage. | Protected Sheets Password: Broncosarebad

## Pretty Picture
Project Estimate
[11 empty] | Discipline | Estimate ($) | SCFM DRPDN |  |  |  | 1 | 2 | 3
[5 empty] | 142425.4701 | [5 empty] | Major Equipment | 6747182.1767 | 3 |  | Major Equipment | 6747182.1767 | 4129717.984 | 6223596.1085 | 6747182.1767
[5 empty] | FLARE | [5 empty] | GUU | 6113160.8192 | Flare DRPDN |  | GUU | 6113160.8192 | 3495696.6265 | 5589574.751 | 6113160.8192
Date of Model: | 2026-02-12 |  |  |  | #VALUE! | [5 empty] | Flare | 142425.4701 | 1 |  | Flare | 142425.4701 | 142425.4701 | 142425.4701 | 142425.4701
Expected FID Date: | 2026-02-12 | [9 empty] | Compressor | 491595.8874 | GCA DRPDN |  | Compressor | 491595.8874 | 491595.8874 | 491595.8874 | 491595.8874
[11 empty] | User-Additional Equip | 0 | 1 |  | User-Additional Equip | 0 | 0 | 0 | 0
[11 empty] | User-Additional Equip | 0 | BU Generator DRPDN |  | User-Additional Equip | 0 | 0 | 0 | 0
[11 empty] | Subtotal Equipment | 6747182.1767 | 1 |  | Subtotal Equipment | 6747182.1767 | 4129717.984 | 6223596.1085 | 6747182.1767
[11 empty] | Engineering | 923758.3843 | Compressor DRPDN |  | Engineering | 923758.3843 | 672788.4889 | 769258.1425 | 923758.3843
#VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | Civil/Structural | 1102429.1993 | 1 |  | Civil/Structural | 1102429.1993 | 821871.8209 | 1102429.1993 | 1102429.1993
[11 empty] | Process Piping / Mechanical | 1312220.6019 | PSI DRPDN |  | Process Piping / Mechanical | 1312220.6019 | 1002638.3748 | 1312220.6019 | 1312220.6019
| #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  |  | Electrical | 1274795.3221 | 3 |  | Electrical | 1274795.3221 | 925603.9711 | 1238247.2646 | 1274795.3221
[11 empty] | Instrumentation / Controls / Automation | 972528.0151 | Escalation Calculator |  | Instrumentation / Controls / Automation | 972528.0151 | 972528.0151 | 972528.0151 | 972528.0151
[11 empty] | Non-Process Infrastructure | 491537.8239 | 1 |  | Non-Process Infrastructure | 491537.8239 | 429706.2104 | 491537.8239 | 491537.8239
ANAEROBIC DIGESTER |  | GAS UPGRADER |  | CHROMATOGRAPH |  |  | RNG COMPRESSOR |  | INTERCONNECT |  | General Requirements | 1154200.6371 | Flare DRPDN 2 |  | General Requirements | 1154200.6371 | 805936.9379 | 1089883.544 | 1154200.6371
|  | 6113160.8192 |  | 238548.7212 |  |  | 491595.8874 |  |  |  | User -Additional Direct Costs |  | 2 |  | User -Additional Direct Costs | 0 | 0 | 0 | 0
[11 empty] | User -Additional Direct Costs |  | Month Calc |  | User -Additional Direct Costs | 0 | 0 | 0 | 0
[11 empty] | Subtotal Construction Directs | 7231469.9837 | 0 |  | Subtotal Construction Directs | 7231469.9837 | 5631073.819 | 6976104.5913 | 7231469.9837
[11 empty] | General Conditions | 1481737.129 |  |  | General Conditions | 1481737.129 | 1034643.9311 | 1399168.2742 | 1481737.129
[11 empty] | Building Permits | 69893.2608 |  |  | Building Permits | 69893.2608 | 48803.959 | 65998.5035 | 69893.2608
[11 empty] | Insurance / G&A | 377423.6083 |  |  | Insurance / G&A | 377423.6083 | 263541.3787 | 356391.9189 | 377423.6083
#VALUE! |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | EPC Profit | 768825.8688 |  |  | EPC Profit | 768825.8688 | 536843.5492 | 725983.5385 | 768825.8688
[11 empty] | Subtotal: Const Mgmt and Indirects | 2697879.867 |  |  | Subtotal: Const Mgmt and Indirects | 2697879.867 | 1883832.818 | 2547542.2351 | 2697879.867
| #VALUE! |  | #VALUE! |  |  | #VALUE! |  |  |  |  | User-Interconnect (Base $2,200,000) | 2200000 |  |  | User-Interconnect (Base $2,200,000) | 2200000 | 2200000 | 2200000 | 2200000
[11 empty] | User-Lateral Miles | 2 | 3.108 | LANG Factor | User-Lateral Miles | 2 | 2 | 2 | 2
[11 empty] | Lateral | 1846804.9793 |  |  | Lateral | 1846804.9793 | 1846804.9793 | 1846804.9793 | 1846804.9793
UTILITY COMPANY |  | TRANSFORMER |  | SWITCHGEAR |  |  | GENERATOR |  | PROJECT STATE |  | Subtotal Interconnect | 4046804.9793 |  |  | Subtotal Interconnect | 4046804.9793 | 4046804.9793 | 4046804.9793 | 4046804.9793
[7 empty] | 87642.1823 |  |  |  | Sales Tax | 0 |  |  | Sales Tax | 0 | 0 | 0 | 0
[10 empty] | Total EPC |  | 20723337.0067 |  |  | Total EPC | 20723337.0067 | 15691429.6002 | 19794047.9142 | 20723337.0067
[9 empty] | TAX EXEMPT? |  | Utility Connection Fee | 250000 |  |  | Utility Connection Fee | 250000 | 250000 | 250000 | 250000
[11 empty] | Insurance | 310850.0551 |  |  | Insurance | 310850.0551 | 235371.444 | 296910.7187 | 310850.0551
[11 empty] | Project Delivery | 1360000 |  |  | Project Delivery | 1360000 | 1360000 | 1360000 | 1360000
[11 empty] | Dev Costs | 621700.1102 |  |  | Dev Costs | 621700.1102 | 470742.888 | 593821.4374 | 621700.1102
[11 empty] | Fixtures and Furnishings | 247000 |  |  | Fixtures and Furnishings | 247000 | 247000 | 247000 | 247000
[11 empty] | Ops During Construction | 426000 |  |  | Ops During Construction | 426000 | 426000 | 426000 | 426000
[11 empty] | Contingency | 1554250.2755 |  |  | Contingency | 1554250.2755 | 1176857.22 | 1484553.5936 | 1554250.2755
[11 empty] | Commercial Subtotal | 4769800.4408 |  |  | Commercial Subtotal | 4769800.4408 | 4165971.552 | 4658285.7497 | 4769800.4408
[10 empty] | Total |  | 25493137.4475 |  |  | Total | 25493137.4475 | 19857401.1523 | 24452333.6639 | 25493137.4475
[15 empty] | ITC Eligible | 22551599.6236 | 16977694.9419 | 21510795.84 | 22551599.6236
[15 empty] | Property Tax Eligible | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Calculation Sheet
Estimate Calculation
| Discipline |  |  | Estimate | Notes
| Engineering |  |  | 923758.3843
|  | BOP Engineering |  | 817504.6401
|  | 3rd Party Testing |  | 106253.7442
| Major Equipment |  |  | 6747182.1767
|  | GUU |  | 6113160.8192
|  | Flare |  | 142425.4701
|  | Compressor |  | 491595.8874
| User Added Equip |  |  | 0
| User Added Equip |  |  | 0
| Civil/Structural |  |  | 1102429.1993
|  | Earthworks |  | 727938.1896
|  | Concrete |  | 299695.408
|  | Process Structural |  | 74795.6017
| Process Piping / Mechanical |  |  | 1312220.6019
|  | Process Piping / Mechanical |  | 1312220.6019
| Electrical |  |  | 1274795.3221
|  | U/G Utilities |  | 66543.8985
|  | Electrical Distribution Equipment |  | 388306.0241
|  | Generator |  | 87642.1823
|  | Cables / Conduits / Terminations |  | 613759.4136
|  | Other |  | 118543.8036
| Instrumentation / Controls / Automation |  |  | 972528.0151
|  | Gas Chromatograph |  | 238548.7212
|  | BOP Controls |  | 733979.2939
| Non-Process Infrastructure |  |  | 491537.8239
|  | Site Infrastructure |  | 242512.6828
|  | Site Utilities |  | 147834.1736
|  | Site Electrical |  | 39359.354
| General Requirements |  | 9% | 1154200.6371 | Note - ARCO 8.89% Milton 30% 12.30, Swinerton 12.1% Persimmons ROM 11.25, Swinerton Pasco GMP 7.79%
| User Added Direct Cost |  |  | 0
| User Added Direct Cost |  |  | 0
| Direct Costs Subtotal |  |  | 13978652.1604
| Construction Management Costs |  |  | 2697879.867
|  | General Conditions | 10.6% | 1481737.129 | Note - ARCO 6.25% Milton 30% 12.30, Swinerton 27.3% Persimmons ROM 11.25, Swinerton Pasco GMP 1.3%
|  | Building Permits | 0.5% | 69893.2608
|  | Insurance / G&A | 2.7% | 377423.6083
|  | EPC Profit | 5.5% | 768825.8688
| Interconnect |  |  | 2200000
| Lateral |  |  | 1846804.9793
| EPC Subtotal w/out tax |  |  | 20723337.0067
| Sales Tax (State) |  | 0% | 0
| Escalation - summary |  | 4% | 0 | Summary - applied through the buckets above
Total EPC |  |  |  | 20723337.0067
| Utility Connection Fee |  |  | 250000 | Initial fee to connect to utilities (Pasco $450k)
| Insurance |  | 1.5% | 310850.0551 | % of EPC (quotes from McGriff/Marsh)
| Project Delivery |  |  | 1360000 | See Commercial Tab
| Dev Costs |  | 3% | 621700.1102 | % of EPC. Project standard
| Dev Fee |  |  | 0 | % of EPC. Unique to project
| Ops During Construction |  |  | 426000 | See Commercial Tab
| Fixtures and Furnishings |  |  | 247000
| Contingency |  | 7.5% | 1554250.2755 | % of EPC. Project standard
0
| Total Commercial Items |  |  | 4769800.4408
Total |  |  |  | 25493137.4475
ITC Eligible | ITC Eligible |  | 22551599.6236 | Total project cost less Utility Connection fee,Non-process, Interconnect

## Gas Upgrader
GUU
Unit Size | Vlookup | Unit Price ($) | Notes | Domestic Content |  | Percent Payment | Timeline wks | Term | Yes
400 SCFM | 1 | 3172596 |  | Vpack US | Vpack FR | 30% |  | Signing LNTP | No
800 SCFM | 2 | 5211906 |  | 44% | 38% | 20% |  | Delivery of commencement of Manufacturing Certificate
1200 SCFM | 3 | 5721847 |  | 43% | 37% | 50% |  | Delivery of completion of Manufacturing Certificate
1754 SCFM | 4 | 7971358 | incl. manual hoist, first charge carbon, domestic content | 46% | 40% | Total | 53
Chosen Price PFD | 3 | 5721847
Optional | Needed? | Estimated Cost ($) | Notes | Link to Quote:
Allen Bradley | Yes | 132000 | Default to Yes | Prodeval MPA
Spare Parts | Yes | 100000 | Default to Yes | Allan Bradley
Total |  | 5953847

## Flare
Flare |  |  | (Scaled to Feb 2026)
Size | Vlookup | Unit Price ($) | Notes | Percent Payment | Timeline wks | Terms | Yes
400 SCFM | 1 | 67972 | Persimmon 30' Flare | 15% | 0 | Acceptance of order | No | Enclosed
800 SCFM | 2 | 67972 | Persimmon 30' Flare | 50% | 14 | Issuance of customer submittal package |  | Candlestick
1200 SCFM | 3 | 67972 | Persimmon 30' Flare | 35% | 30 | Notice of availability for shipment
1750 SCFM | 4 | 56600 | Nashville 20' Flare
Chosen Price PFD | 3 | 67972 |  | Total | 44
Optional | Needed? | Estimated Cost ($) | Notes
Freight | Yes | 15000 | Default to Yes - Mark Swag | Link to Quote:
Field Service | Yes | 10000 | Default to Yes - Mark Swag | Persimmon | Nashville
One Access Ladder | Yes | 10000 | Default to Yes - Mark Swag | Enclosed Flare Quotes
Engineering | Yes | 10843.8734 | Zeeco 1200 scfm candlestick
Deflagration Arrester | No | 12445.2893 | Zeeco 1200 scfm candlestick
Candlestick vapor blower skid | No | 67972 | *Only use with Zeeco candlestick pricing
Kockout Drum | No | 15048.2256 | Zeeco 1200 scfm candlestick
Automated Purge Gas Spool | No | 7015.7268 | Zeeco 1200 scfm candlestick
PLC Base Logic Control Panel | No | 10167.72 | Zeeco 1200 scfm candlestick
Industrial Surface Finish | No
Extended Warranty - Equip | No
Extended Warranty - Preventative Maintenance | No
Spare parts | Yes | 25000 | Default to Yes - Mark Swag
Total |  | 138815.8734

## Compressor
Product Gas Compressor |  |  |  | (Scaled to Feb 2026)
|  | 0-100 PSI | 100-300 PSI | 300-1000 PSI |  | DO NOT DELETE
Size | Vlookup | 1 | 2 | 3 | Yes | 0-100 PSI
400 SCFM | 1 | 0 | 347207 | 459137 | No | 100-300 PSI
800 SCFM | 2 | 0 | 347207 | 459137 |  | 300-1000 PSI
1200 SCFM | 3 | 0 | 347207 | 459137
1754 SCFM | 4 | 0 | 347207 | 459137
Chosen Compressor |  | 459137
Optional | Needed? | Estimated Cost ($) | Notes
Spare parts | Yes | 20000 | Default to Yes
Total |  | 479137
Quote
2.5 Compressors (Ariel)

## Chromatograph
Chromatograph |  |  | (Scaled to Feb 2026)
Unit Size | Vlookup | Unit Price ($) | Notes | Yes
400 SCFM | 1 | 186979 |  | No
800 SCFM | 2 | 186979
1200 SCFM | 3 | 186979
1754 SCFM | 4 | 186979
Chosen Price PFD | 3 | 186979
Optional | Needed? | Estimated Cost ($) | Notes
Shipping | Yes | 3500 | Default Yes
Field Commissioning | Yes | 17110 | Default Yes
Spare Parts | Yes | 24914 | Default Yes
Total |  | 232503
Link to Quote:
22037004-026 RKA POA.pdf

## Generator
Generator |  |  | (Scaled to Feb 2026)
Generator Unit Size | Vlookup | Unit Price ($) | Notes | Yes
50KW Generator, Nat. gas + ATS | 1 | 30035 | (Genset $21,300 Means 26 32 13.16 0520) + $8k ATS | No
60KW Generator, Nat. gas + ATS | 2 | 51254 | (Genset $42,000: Means 26 32 13.16 0600) + $8k ATS
80Kw Generator, Nat. Gas + ATS | 3 | 69421 | (Genset $42,000: Means 26 32 13.16 0600) + $8K ATS
80Kw Generator, Nat. Gas + ATS | 4 | 69421 | (Genset $42,000: Means 26 32 13.16 0600) + $8K ATS
Chosen Price PFD | 3 | 69421
Optional | Needed? | Estimated Cost ($) | Notes
Field Commissioning | Yes | 8500 | Default Yes
Spare Parts | Yes | 7500 | Default Yes
Total |  | 85421

## Piping
Piping / Mechanical |  |  | (Scaled to Feb 2026)
Piping Unit Size | Vlookup | Unit Price ($) | Notes |  | Yes
400 | 1 | 905208.75 | 75% of 800 SCFM |  | No
800 | 2 | 1206945 | ARCO GMP
1200 | 3 | 1206945
Chosen Price PFD | 3 | 1206945
Optional | Needed? | Estimated Cost ($) | Notes
Setting Equipment | Yes | 72019 | ARCO GMP
Total |  | 1278964
Piping / Mechanical Additional Equipment
Equipment Cost | Min | Max | Selected Factor | Cost
0 | 21% | 36% | 23% | 0
0 | 21% | 36% | 23% | 0
Total |  |  |  | 0

## Engineering
Engineering | [5 empty] | (Scaled to Feb 2026)
| QTY | 400 | 800 | 1200 | 1754 | Notes
Geotech | inc. Development Budget
Survey (Topo/Alta) | inc. Development Budget
BOP Design |  | 367034 | 452500 | 593670 |  | 400 SCFM AEI-Columbia Quote $358,050, GPSD ARCO Quote - 102.5 committed 350 on GMP, 1200 SCFM - Purpose $582,476
BOP Construction Admin |  | 193116 | 193116 | 193116 |  | 400 SCFM AEI-Columbia Quote $188,390 (225 mi distance), 1200 SCFM Purpose -Persimmons $94,320 (45mi)
3rd Party Testing |  | 85587.5 | 94146.25 | 103560.875 |  | ARCO Milton 12.30 Quote $83,500
As-Builts |  | 10000 | 10000 | 10000
Permitting Fees (Enviro) | inc. Development Budget
Total |  | 655737.5 | 749762.25 | 900346.875
Engineering Additional Equipment
Equipment Cost | Factor | Cost
0 | 8% | 0
0 | 8% | 0
Total |  | 0

## Inst. & Controls
BOP Controls
| IT/OT | BOP Hardware | Make | Model | Quantity | UOM | Base Cost | Estimated Cost | Procurement Source
| IT | Firewall | Fortigate | 90G | 1 | EA | 8200 | 8200 | Burnham
| OT | Firewall | Fortigate | 90G | 1 | EA | 8200 | 8200 | Burnham
| IT | 5G cellular failover SD-WAN router | Fortigate | FEX-511F | 1 | EA | 2000 | 2000 | Burnham
| IT | Managed Switches | Ubiqiti | USW Pro Max | 4 | EA | 400 | 1600 | Burnham
| OT | Core Switch | Cisco | Catalyst 9200 | 2 | EA | 3500 | 7000 | Burnham
| IT | WAPs | Ubiqiti | U7 Pro Indoor/Outdoor | 5 | EA | 350 | 1750 | Burnham
| OT | Managed Switches | Allen-Bradley | Stratix 5200 20 port | 6 | EA | 10000 | 60000 | Burnham
| OT | Fiber Tranceiver modules | Allen-Bradley | SFP1GSX | 12 | EA | 450 | 5400 | Burnham
| IT/OT | Miscellaneous electrical | N/A | N/A | 1 | EA | 5000 | 5000 | Burnham
| IT/OT | Industrial rack mounted UPS | Vertiv | Liebert GXT5 | 1 | EA | 2000 | 2000 | Burnham
| IT/OT | On-Premise data backup | Synology | 2423RP+ | 1 | EA | 3000 | 3000 | Burnham
| IT/OT | On-Premise hard drives | Synology | HAT5300 | 12 | EA | 800 | 9600 | Burnham
| OT | Balance of plant BOP PLC hardware | Allen-Bradley | Misc. | 1 | EA | 30000 | 30000 | Project General Engineer
| OT | Balance of plant BOP media converters | RedLion | Misc. | 4 | EA | 1500 | 6000 | Project General Engineer
| OT | Balance of plant BOP panel build | Hoffman | Panel | 1 | EA | 20000 | 20000 | Project General Engineer
| IT | Office printer | Konica Minolta | Misc. | 1 | EA | 4000 | 4000 | Burnham
| OT | SCADA workstations in office | OnLogic | Helix | 2 | EA | 5000 | 10000 | Burnham
| OT | Balance of plant PLC/SCADA Programming | Ignition | Vision | 240 | EA | 40 | 9600 | Project General Engineer
| OT | OT Redundant Servers | Dell | PowerEdge | 2 | EA | 30000 | 60000 | Burnham
| IT | General IT Server | Dell | PowerEdge | 1 | EA | 4000 | 4000 | Burnham
| IT/OT | Microsoft/Server Licensing | Microsoft | Windows Server 2025 | 1 | EA | 10000 | 10000 | Burnham
| OT | Ignition SCADA Licensing | Inductive Automation | Ignition Vision/Historian | 1 | EA | 25000 | 25000 | Burnham
| OT | Allen-Bradley software | Rockwell Automation | Studio 5000 | 1 | EA | 20000 | 20000 | Burnham
| IT | Installation |  |  | 0.65 | EA | 312350 | 203027.5
|  | Adjustment per 2025 GMP Pricing | [5 empty] | 160000
Subtotal | [7 empty] | 675377.5
Field Technicians
|  | Prodeval Techs |  |  | 80 | HR | 250 | 20000
|  | Other Equipment Vendor Techs |  |  | 80 | HR | 250 | 20000
Subtotal | [7 empty] | 40000
Instrumentation / Controls | [7 empty] | 715377.5
Controls Additional Equipment
Equipment Cost | Min | Max | Factor |  | Factored Cost
0 | 18% | 36% | 26% |  | 0
0 | 18% | 36% | 26% |  | 0
Total |  |  |  |  | 0

## CivStr
Civil / Structural | [6 empty] | Base 400 SCFM | Note - 800-1200 layout sizes are very similar
| Earthworks | QTY | UOM | Addtl 800 | Addtl 1200 | Unit Cost | Total | Addtl 800 | Addtl 1200 | Notes
| Clear and Grub Site | 1 | ACRE | 0.3 | 0 | 6000 | 6000 | 1800 | 0 | Addtl 1200 is additional from 800 so both must be added
| Erosion Control | 1 | LS |  |  | 15000 | 15000
| Strip & Stockpile Topsoil (1ft deep) | 1 | ACRE | 0.3 | 0 | 8083.3333 | 8083.3333 | 2425 | 0
| Soil Remova/ Hauling | 2000 | CY | 640 | 0 | 70 | 140000 | 44800 | 0
| Rough Grading | 15000 | CY | 3000 | 0 | 12 | 180000 | 36000 | 0
| Fine Grading | 40000 | SF | 1500 | 0 | 0.5 | 20000 | 750 | 0
| Structural Excavation (fnd/slab) | 1 | LS | 0.2 | 0 | 5000 | 5000 | 1000 | 0
| Structural Backfill | 1 | LS | 0.2 | 0 | 1500 | 1500 | 300 | 0
| Seed Site | 1616.6667 | SF | 320 | 0 | 2.35 | 3799.1667 | 752 | 0
| Survey (Construction Control) | [5 empty] | 51900 | 10380
| Earthworks Allowance | 1 | LS | 0.2 | 0 | 150000 | 150000 | 30000
| Subtotal | [5 empty] | 581282.5 | 128207 | 0
| Concrete | QTY | UOM | Addtl 800 | Addtl 1200 | Cost | Total | Addtl 800 | Addtl 1200 | Notes
| Footers 10'x2'x4' | 53.33 | CY | 35.47 |  | 2000 | 106660 | 70940
| Generator Equip Pad- 5'x5'x8" | 1 | Ea | 0 |  | 1900 | 1900
| Transformer,SG Equip Pad- 5'x5'x8" | 2 | Ea | 0 |  | 1900 | 3800
| Compressor Foundation- 12' X 20' X 6" | 4.4 | CY |  |  | 2000 | 8800
| Misc. Concrete (unknown site req) | [5 empty] | 50000 | 50000
| Subtotal | [5 empty] | 171160 | 120940 | 0
| Process Structural |  |  | Addtl 800 | Addtl 1200 |  |  | Addtl 800 | Addtl 1200 | Notes
| Concrete Footing 1.5'x1.5'x2' | 12 | ea. | 6 | 0 | 2000 | 24000 | 12000
| Pipe Support | 12 | Ea. | 6 |  | 2050 | 24600 | 12300
| Subtotal | [5 empty] | 48600 | 24300 | 0
Civil / Structural | [5 empty] | Subtotal | 801042.5 | 1074489.5 | 1074489.5
Civil Additional Equipment
| Equipment Cost | Min | Max | Factor | Factored Cost
| 0 | 12% | 48% | 18% | 0
| 0 | 12% | 48% | 18% | 0
Total |  |  |  |  | 0

## Process Electrical
Electrical | [15 empty] | Base 400 SCFM
| Electrical Ductbank | Qty | Unit | Man Hrs. | STD MH | MH Adj | Total MH | Wage Rate | Unit Mat | Unit Sub | Unit Equip | Labor | Material | Sub Cont. | Equip | Total | Addtl 800 | Addtl 1200
| grading for duct bank | 50 | cy | 4 | 200 | 0% | 200 | 75.29 | 18 | 0 | 0 | 15058 | 900 | 0 | 0 | 15958
| 4" of sand in bottom of duct bank | 2.4667 |  | 2 | 4.9333 | 0% | 4.9333 | 75.29 | 30 | 0 | 0 | 371.4307 | 74 | 0 | 0 | 445.4307
| concrete duct bank for 1600 amp feeders | 29.6296 | cy | 5 | 148.1481 | 0% | 148.1481 | 75.29 | 125 | 1100 | 0 | 11154.0741 | 3703.7037 | 32592.5926 | 0 | 47450.3704
| conduit spacers | 25 | ea | 0.5 | 12.5 | 0% | 12.5 | 75.29 | 2.5 | 0 | 0 | 941.125 | 62.5 | 0 | 0 | 1003.625
| Subtotal | [5 empty] | 365.5815 | [8 empty] | 64857.426
| Electrical Distribution Equipment | Qty | Unit | Man Hrs. | STD MH | MH Adj | Total MH | Wage Rate | Unit Mat | Unit Sub | Unit Equip | Labor | Material | Sub Cont. | Equip | Total
| 1600 amp switch gear 277/480vac 3 ph | 1 | ea | 200 | 200 | 0% | 200 | 75.29 | 0 | 0 | 150000 | 15058 | 0 | 0 | 150000 | 165058
| 2 600 amps breaker | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 25000 | 1505.8 | 0 | 0 | 25000 | 26505.8 | 53011.6
| 1 400amp breaker | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 20000 | 1505.8 | 0 | 0 | 20000 | 21505.8
| 1 100 amp breaker | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 10000 | 1505.8 | 0 | 0 | 10000 | 11505.8
| 2 60 amp breakers | 2 | ea | 20 | 40 | 0% | 40 | 75.29 | 0 | 0 | 5000 | 3011.6 | 0 | 0 | 10000 | 13011.6
| Genset - Install only | 1 | ea | 200 | 200 | 0% | 200 | 75.29 | 0 | 0 | 0 | 15058 | 0 | 0 | 0 | 15058
| 30 KVA XFMR 277/480 3 ph | 2 | ea | 20 | 40 | 0% | 40 | 75.29 | 1500 | 0 | 12000 | 3011.6 | 3000 | 0 | 24000 | 30011.6
| 600 amp fused disconnects | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 7500 | 1505.8 | 0 | 0 | 7500 | 9005.8 | 18011.6
| EMDP Panel 100 amp 277/480 3p 30 circuit | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 2000 | 1505.8 | 0 | 0 | 2000 | 3505.8
| EMP Panel 100 amp 120/208 3p 30 circuit | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 0 | 0 | 1200 | 1505.8 | 0 | 0 | 1200 | 2705.8
| 20 amp 3 ph breakers | 4 | ea | 5 | 20 | 0% | 20 | 75.29 | 0 | 0 | 75 | 1505.8 | 0 | 0 | 300 | 1805.8
| 50 amp 3 ph breakers | 1 | ea | 5 | 5 | 0% | 5 | 75.29 | 0 | 0 | 125 | 376.45 | 0 | 0 | 125 | 501.45
| 20 amp 1ph breakers | 11 | ea | 1 | 11 | 0% | 11 | 75.29 | 0 | 0 | 50 | 828.19 | 0 | 0 | 550 | 1378.19
| 60amp fused disconnect for office panel | 1 | ea | 5 | 5 | 0% | 5 | 75.29 | 50 | 0 | 250 | 376.45 | 50 | 0 | 250 | 676.45
| 100amp ATS for EMDP Panels | 1 | ea | 20 | 20 | 0% | 20 | 75.29 | 1200 | 0 | 2500 | 1505.8 | 1200 | 0 | 2500 | 5205.8
| Subtotal | [5 empty] | 661 | [8 empty] | 307441.69 | 71023.2 | 0
| Cables / Conduits / Terminations | Qty | Unit | Man Hrs. | STD MH | MH Adj | Total MH | Wage Rate | Unit Mat | Unit Sub | Unit Equip | Labor | Material | Sub Cont. | Equip | Total
1600 amp feed from XFMR To Switch gear
| 500 mcm cu 4 parallel feeds 50ft run | 900 | ft | 1 | 900 | 0% | 900 | 75.29 | 15 | 0 | 0 | 67761 | 13500 | 0 | 0 | 81261
| 4/0 cu gnd conductors | 300 | ft | 0.75 | 225 | 0% | 225 | 75.29 | 7 | 0 | 0 | 16940.25 | 2100 | 0 | 0 | 19040.25
| 500 mcm terminations | 24 | ea | 4 | 96 | 0% | 96 | 75.29 | 25 | 0 | 0 | 7227.84 | 600 | 0 | 0 | 7827.84
| 4" Rigid Conduit | 200 | ft | 0.75 | 150 | 0% | 150 | 75.29 | 35 | 0 | 0 | 11293.5 | 7000 | 0 | 0 | 18293.5
| 90 deg bends | 8 | ea | 1 | 8 | 0% | 8 | 75.29 | 200 | 0 | 0 | 602.32 | 1600 | 0 | 0 | 2202.32
| GND Bushings | 8 | ea | 0.5 | 4 | 0% | 4 | 75.29 | 75 | 0 | 0 | 301.16 | 600 | 0 | 0 | 901.16
| 4/0 terminations | 2 | ea | 0.5 | 1 | 0% | 1 | 75.29 | 2.5 | 0 | 0 | 75.29 | 5 | 0 | 0 | 80.29
300 amp feed from Switch gear to Prodeval Panel
| 350 mcm cu 250ft run | 865 | ft | 0 | 0 | 0% | 0 | 75.29 | 12 | 0 | 0 | 0 | 10380 | 0 | 0 | 10380
| 4" conduit | 250 | ft | 0.75 | 187.5 | 0% | 187.5 | 75.29 | 35 | 0 | 0 | 14116.875 | 8750 | 0 | 0 | 22866.875
| 90 deg bends | 2 | ea | 1 | 2 | 0% | 2 | 75.29 | 75 | 0 | 0 | 150.58 | 150 | 0 | 0 | 300.58
| 4/0 GND | 275 | ft | 0.75 | 206.25 | 0% | 206.25 | 75.29 | 7 | 0 | 0 | 15528.5625 | 1925 | 0 | 0 | 17453.5625
| supports | 35 | ea | 2.5 | 87.5 | 0% | 87.5 | 75.29 | 30 | 0 | 0 | 6587.875 | 1050 | 0 | 0 | 7637.875
| 350 mcm terminations | 6 | ea | 2 | 12 | 0% | 12 | 75.29 | 5 | 0 | 0 | 903.48 | 30 | 0 | 0 | 933.48
| 4/0 terminations | 2 | ea | 0.5 | 1 | 0% | 1 | 75.29 | 2.5 | 0 | 0 | 75.29 | 5 | 0 | 0 | 80.29
| 4" fittings | 2 | ea | 2 | 4 | 0% | 4 | 75.29 | 200 | 0 | 0 | 301.16 | 400 | 0 | 0 | 701.16
60 amp feed to Office panel xfmr
| #6 awg | 865 | ft | 0.075 | 64.875 | 0% | 64.875 | 75.29 | 2.5 | 0 | 0 | 4884.4388 | 2162.5 | 0 | 0 | 7046.9388
| 1" conduit | 250 | ft | 0.25 | 62.5 | 0% | 62.5 | 75.29 | 8.5 | 0 | 0 | 4705.625 | 2125 | 0 | 0 | 6830.625
| fittings | 2 | ea | 0.25 | 0.5 | 0% | 0.5 | 75.29 | 0 | 0 | 0 | 37.645 | 0 | 0 | 0 | 37.645
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 0 | 0 | 0 | 67.761 | 0 | 0 | 0 | 67.761
| # 10 gnd | 275 | ft | 0.075 | 20.625 | 0% | 20.625 | 75.29 | 0.75 | 0 | 0 | 1552.8563 | 206.25 | 0 | 0 | 1759.1063
60 amp feed from switch gear to EMDP ATS
| #6 awg | 865 | ft | 0.075 | 64.875 | 0% | 64.875 | 75.29 | 1.5 | 0 | 0 | 4884.4388 | 1297.5 | 0 | 0 | 6181.9388
| 1" conduit | 250 | ft | 0.25 | 62.5 | 0% | 62.5 | 75.29 | 8.5 | 0 | 0 | 4705.625 | 2125 | 0 | 0 | 6830.625
| fittings | 2 | ea | 0.25 | 0.5 | 0% | 0.5 | 75.29 | 0 | 0 | 0 | 37.645 | 0 | 0 | 0 | 37.645
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 0 | 0 | 0 | 67.761 | 0 | 0 | 0 | 67.761
| # 10 gnd | 275 | ft | 0.075 | 20.625 | 0% | 20.625 | 75.29 | 0.75 | 0 | 0 | 1552.8563 | 206.25 | 0 | 0 | 1759.1063
100 amp feed to Office panel from XFMR
| #3 awg | 85 | ft | 0.075 | 6.375 | 0% | 6.375 | 75.29 | 2.5 | 0 | 0 | 479.9738 | 212.5 | 0 | 0 | 692.4738
| 1" conduit | 20 | ft | 0.25 | 5 | 0% | 5 | 75.29 | 8.5 | 0 | 0 | 376.45 | 170 | 0 | 0 | 546.45
| fittings | 1 | ea | 0.25 | 0.25 | 0% | 0.25 | 75.29 | 10 | 0 | 0 | 18.8225 | 10 | 0 | 0 | 28.8225
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 0 | 0 | 0 | 67.761 | 0 | 0 | 0 | 67.761
| # 10 gnd | 25 | ft | 0.15 | 3.75 | 0% | 3.75 | 75.29 | 0 | 0 | 0 | 282.3375 | 0 | 0 | 0 | 282.3375
60 amp feed from ATS to EMDP
| #6 awg | 85 |  | 0.075 | 6.375 | 0% | 6.375 | 75.29 | 1.5 | 0 | 0 | 479.9738 | 127.5 | 0 | 0 | 607.4738
| 1" conduit | 20 | ft | 0.25 | 5 | 0% | 5 | 75.29 | 8.5 | 0 | 0 | 376.45 | 170 | 0 | 0 | 546.45
| fittings | 1 | ea | 0.25 | 0.25 | 0% | 0.25 | 75.29 | 10 | 0 | 0 | 18.8225 | 10 | 0 | 0 | 28.8225
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 2.5 | 0 | 0 | 67.761 | 15 | 0 | 0 | 82.761
| # 10 gnd | 25 | ft | 0.075 | 1.875 | 0% | 1.875 | 75.29 | 2.5 | 0 | 0 | 141.1688 | 62.5 | 0 | 0 | 203.6688
Feeder from switch gear to Comp 1& 2
| 500 mcm cu 250 ft run | 865 | ft | 1 | 865 | 0% | 865 | 75.29 | 15 | 0 | 0 | 65125.85 | 12975 | 0 | 0 | 78100.85 | 156201.7
| 4/0 cu gnd conductors | 275 | ft | 0.75 | 206.25 | 0% | 206.25 | 75.29 | 7 | 0 | 0 | 15528.5625 | 1925 | 0 | 0 | 17453.5625 | 34907.125
| 500 mcm terminations | 6 | ea | 4 | 24 | 0% | 24 | 75.29 | 25 | 0 | 0 | 1806.96 | 150 | 0 | 0 | 1956.96 | 3913.92
| 4" Rigid Conduit | 500 | ft | 0.75 | 375 | 0% | 375 | 75.29 | 35 | 0 | 0 | 28233.75 | 17500 | 0 | 0 | 45733.75
| 90 deg bends | 4 | ea | 1 | 4 | 0% | 4 | 75.29 | 200 | 0 | 0 | 301.16 | 800 | 0 | 0 | 1101.16
| GND Bushings | 4 | ea | 0.5 | 2 | 0% | 2 | 75.29 | 75 | 0 | 0 | 150.58 | 300 | 0 | 0 | 450.58
| 4/0 terminations | 4 | ea | 0.5 | 2 | 0% | 2 | 75.29 | 2.5 | 0 | 0 | 150.58 | 10 | 0 | 0 | 160.58
| fittings | 4 | ea | 2 | 8 | 0% | 8 | 75.29 | 200 | 0 | 0 | 602.32 | 800 | 0 | 0 | 1402.32
100 amp feed from T-1 XFMR to EMP Panel
| #3 awg | 85 | ft | 0.075 | 6.375 | 0% | 6.375 | 75.29 | 2.5 | 0 | 0 | 479.9738 | 212.5 | 0 | 0 | 692.4738
| 1" conduit | 20 | ft | 0.25 | 5 | 0% | 5 | 75.29 | 8.5 | 0 | 0 | 376.45 | 170 | 0 | 0 | 546.45
| fittings | 1 | ls | 0.25 | 0.25 | 0% | 0.25 | 75.29 | 10 | 0 | 0 | 18.8225 | 10 | 0 | 0 | 28.8225
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 2.5 | 0 | 0 | 67.761 | 15 | 0 | 0 | 82.761
| # 10 gnd | 25 | ft | 0.075 | 1.875 | 0% | 1.875 | 75.29 | 2.5 | 0 | 0 | 141.1688 | 62.5 | 0 | 0 | 203.6688
50 amp feed from EMDP to T-1 XFMR
| #6 awg | 85 | ft | 0.075 | 6.375 | 0% | 6.375 | 75.29 | 1.5 | 0 | 0 | 479.9738 | 127.5 | 0 | 0 | 607.4738
| 1" conduit | 20 | ft | 0.25 | 5 | 0% | 5 | 75.29 | 8.5 | 0 | 0 | 376.45 | 170 | 0 | 0 | 546.45
| fittings | 0 | ls | 0.25 | 0 | 0% | 0 | 75.29 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 2.5 | 0 | 0 | 67.761 | 15 | 0 | 0 | 82.761
| # 10 gnd | 25 | ft | 0.075 | 1.875 | 0% | 1.875 | 75.29 | 2.5 | 0 | 0 | 141.1688 | 62.5 | 0 | 0 | 203.6688
100 amp feed fromn Gen/set to ATS
| #3 awg | 85 | ft | 0.075 | 6.375 | 0% | 6.375 | 75.29 | 2.5 | 0 | 0 | 479.9738 | 212.5 | 0 | 0 | 692.4738
| 1" conduit | 20 | ft | 0.25 | 5 | 0% | 5 | 75.29 | 8.5 | 0 | 0 | 376.45 | 170 | 0 | 0 | 546.45
| fittings | 1 | ls | 0.25 | 0.25 | 0% | 0.25 | 75.29 | 10 | 0 | 0 | 18.8225 | 10 | 0 | 0 | 28.8225
| terminations | 6 | ea | 0.15 | 0.9 | 0% | 0.9 | 75.29 | 2.5 | 0 | 0 | 67.761 | 15 | 0 | 0 | 82.761
| # 10 gnd | 25 | ft | 0.075 | 1.875 | 0% | 1.875 | 75.29 | 2.5 | 0 | 0 | 141.1688 | 62.5 | 0 | 0 | 203.6688
| EMDP Branch circuits (20amp 3 ph) 150 ft runs (E8-E31-E14-E32) | 4 | ea of below
| 3/4" EMT Conduit | 600 | ft | 0 | 0 | 0% | 0 | 75.29 | 9 | 0 | 0 | 0 | 5400 | 0 | 0 | 5400
| Connectors | 8 | ea | 0 | 0 | 0% | 0 | 75.29 | 4 | 0 | 0 | 0 | 32 | 0 | 0 | 32
| Couplings | 60 | ea | 0 | 0 | 0% | 0 | 75.29 | 7.5 | 0 | 0 | 0 | 450 | 0 | 0 | 450
| Flex connectors | 8 | ea | 0 | 0 | 0% | 0 | 75.29 | 4 | 0 | 0 | 0 | 32 | 0 | 0 | 32
| ST Flex | 12 | ft | 0 | 0 | 0% | 0 | 75.29 | 2 | 0 | 0 | 0 | 24 | 0 | 0 | 24
| #12 THHN cu | 2760 | ft | 0 | 0 | 0% | 0 | 75.29 | 0.75 | 0 | 0 | 0 | 2070 | 0 | 0 | 2070
| EMP Branch circuits (20amp 1 ph) 150 ft runs (E10,E11, E13, E12.1, E12.2,E12.3,E1, E23, E27, E9, E26) | 11 | ea of below
| 3/4" EMT Conduit | 1650 | ft | 0 | 0 | 0% | 0 | 75.29 | 9 | 0 | 0 | 0 | 14850 | 0 | 0 | 14850
| Connectors | 22 | ea | 0 | 0 | 0% | 0 | 75.29 | 4 | 0 | 0 | 0 | 88 | 0 | 0 | 88
| Couplings | 165 | ea | 0 | 0 | 0% | 0 | 75.29 | 7.5 | 0 | 0 | 0 | 1237.5 | 0 | 0 | 1237.5
| Flex connectors | 22 | ea | 0 | 0 | 0% | 0 | 75.29 | 4 | 0 | 0 | 0 | 88 | 0 | 0 | 88
| ST Flex | 33 | ft | 0 | 0 | 0% | 0 | 75.29 | 2 | 0 | 0 | 0 | 66 | 0 | 0 | 66
| #12 THHN cu | 5692.5 | ft | 0 | 0 | 0% | 0 | 75.29 | 0.75 | 0 | 0 | 0 | 4269.375 | 0 | 0 | 4269.375
| Subtotal | [5 empty] | 3742.925 | [8 empty] | 403181.6983 | 195022.745 | 0
| Other | Qty | Unit | Man Hrs. | STD MH | MH Adj | Total MH | Wage Rate | Unit Mat | Unit Sub | Unit Equip | Labor | Material | Sub Cont. | Equip | Total
| Grounding System | 1 | ls | 200 | 200 | 0% | 200 | 75.29 | 0 | 5000 | 0 | 15058 | 0 | 5000 | 0 | 20058 | 5014.5 | 5014.5
| Elect Consumables (5% of Electrical Material) | 0 | lt | [5 empty] | 0.05 |  |  |  | 130367.0787 | 0 | 0 | 6518.3539 | 1629.5885 | 1629.5885
| Subtotal | [5 empty] | 200 | [8 empty] | 26576.3539 | 6644.0885 | 6644.0885
| Supervision | Qty | Unit | Man Hrs. | STD MH | MH Adj | Total MH | Wage Rate | Unit Mat | Unit Sub | Unit Equip | Labor | Material | Sub Cont. | Equip | Total
| Electrical Superintendent | 10 | wk | 50 | 500 | 0% | 500 | 75.29 | 0 | 0 | 0 | 37645 | 0 | 0 | 0 | 37645 | 7529 | 7529
| Per Diem | 1 | ls |  | 5469.5065 | 20% |  | 15 | [7 empty] | 16408.5194 | 3281.7039 | 3281.7039
| Subtotal | [5 empty] | 500 | [8 empty] | 54053.5194 | 10810.7039 | 10810.7039
Process Electrical | [5 empty] | Subtotal | 5469.5065 | [8 empty] | 856110.6877 | 1139611.425 | 1157066.2174
Electrical Additional Equipment
| Equipment Cost | Min | Max | Factor | Factored Cost
| 0 | 18% | 30% | 25% | 0
| 0 | 18% | 30% | 25% | 0
Total |  |  |  |  | 0

## Non-Process
Non-Process Infrastructure | [6 empty] | Base 400 SCFM
| Site Infrastructure | QTY | UOM | Addtl 800 | Addtl 1200 | Unit Cost | Total | Addtl 800 | Addtl 1200 | Notes | Additional Notes
| Office Buildng | 1 | ls |  |  | 100000 | 100000 | 0 | 0 | 1200 is addtl from 400 so do not add both 800 and 1200
| Signage | 1 | ls |  |  | 7500 | 7500 | 0 | 0
| Specialties / Painting | 1 | ls |  |  | 7500 | 7500 | 0 | 0
| Handrails / Misc Metal | 1 | ls |  |  | 5000 | 5000 | 0 | 0
| Parking Lot / Hardscape | 1 | ls |  |  |  |  | 0 | 0
| Precast Bumpers | 6 | ea |  |  | 79 | 474 | 0 | 0 | RS Means 32 17 13.19 1000 wheel stops, precast conctete incl. dowels, 6"x10" x 6'
| Pavement Marking | 5 | stall |  |  | 29.5 | 147.5 | 0 | 0 | RS Means 32 17 23.14 0825 lines in pvmt, parking stall, small quantities
| Handicap Marking + Sign | 1 | stall |  |  | 427.5 | 427.5 | 0 | 0 | RS Means 32 17 23.14 1200 handicap symbol, 1210 habdicpa parking sign and post
| Paving | 4000 | s.f. |  |  | 5.3 | 21200 | 0 | 0 | RS Means 32 12 16.44 0050 Ashpalt Paving, 4" binder course, 3" topping, 6" stone base
| Curb | 100 | l.f. |  |  | 44 | 4400 | 0 | 0 | RS Means 32 16 13 0435 Curb and Gutter, straight with 6" high curb and 6" thick gutter, wood forms
| Sidewalk | 425 | s.f. | 100 | 0 | 8.1 | 3442.5 | 810 | 0 | RS Means 32 06 10.10 0350 Concrete 3000 psi, CIP 6X6 WWF
| Light Pole Foundations | 6 | ea. | 4 |  | 1000 | 6000 | 4000 | 0
| Stoop | 10 | ea. | 7 |  | 200 | 2000 | 1400 | 0
| Bollards | 4 | ea | 2 | 0 | 1200 | 4800 | 2400 | 0 | RS Means 32 17 13.13 1400 - 8" diameter, filled concrete w/ paint | 12.30.24 Milton Arco Estimate 50 bollards ( $150/ea + paint $150/ea + concrete $250/ea = $550 /ea
| Flagpole | 1 | ls |  |  | 15000 | 15000 | 0 | 0
| Landscaping | 1 | ls | 0.1 | 0 | 10000 | 10000 | 1000 | 0
| Fencing | 460 | l.f. | 192 | 0 | 61 | 28060 | 11712 | 0 | Means 32 31 11.10 8' H, 6ga. Wire 2 1/2" line post, galv steel in concrete | 12.30.24 Milton Arco Estimate 421 L.F. $56.33/L.F.
| Vehicular Gate | 1 | ea |  |  | 3300 | 3300 | 0 | 0 | Means 32 31 13.20 3120 Double Swing Gate, inc. posts & hardware, in concrete 20ft opening | 12.30.24 Milton Arco Estimate $10,000 per gate
| Pedestrian Gate | 2 | ea |  |  | 535 | 1070 | 0 | 0 | Means 32 31 13 1400 Gate for 6" high fence 1-5/8" frame 3' wide 2" line post in concrete | 12.30.24 Milton Arco Estimate $2,000 per gate
| Storage Container | 1 | ea |  |  | 6500 | 6500 | 0 | 0
| Stone / Rock Overlay | 415 | ton | 50 | 0 | 23 | 9545 | 1150 | 0 | ARCO Milton Estimate - 12.30.24
| Subtotal | [5 empty] | 236366.5 | 22472 | 0
| Site Utilities | QTY | UOM | Addtl 800 | Addtl 1200 | Cost | Total | Addtl 800 | Addtl 1200 | Notes | Additional Notes
| Fire Suppression / Hydrant | [6 empty] | 0 | 0
| Fire Hydrant 4" | 1 | ea |  |  | 3950 | 3950 | 0 | 0 | RS Means 33 14 19.30 1170
| 4" Water Line | 250 | lf | 25 | 0 | 138 | 34500 | 3450 | 0 | RS Means 33 14 13.15 2020 (Pipe, Class 50 Ducticle Iron)
| Nat Gas Supply | [6 empty] | 0 | 0
| Nat Gas Metering | 1 | ls |  |  | 10000 | 10000 | 0 | 0 | ARCO Milton Estimate - 12.30.24
| Nat Gas Piping | 325 | l.f. | 100 | 0 | 95 | 30875 | 9500 | 0 | ARCO Milton Estimate - 12.30.24
| Septic Tank / System | [6 empty] | 0 | 0
| 5000 Gallon, precast | 1 | ls |  |  | 10000 | 10000 | 0 | 0 | Tank $5000 RS Means 33 34 12 0200 + Excavation / Backfill $5000
| 4" Sanitary Line + Backfill | 125 | l.f. | 50 | 0 | 116.5 | 14562.5 | 5825 | 0 | ARCO Milton Estimate - 12.30.24
| Domestic Water | [6 empty] | 0 | 0
| Water Metering | 1 | ls |  |  | 15500 | 15500 | 0 | 0 | ARCO Milton Estimate - 12.30.24
| 2" Water Line | 100 | l.f. | 100 | 0 | 77 | 7700 | 7700 | 0 | ARCO Milton Estimate - 12.30.24
| Valves | 4 | ea |  |  | 1750 | 7000 | 0 | 0 | Mark ROM
| Storm Water Piping | 1 | ls |  |  | 10000 | 10000 | 0 | 0
| Subtotal | [5 empty] | 144087.5 | 26475 | 0
| Site Electrical |  |  | Addtl 800 | Addtl 1200 |  | Total | Addtl 800 | Addtl 1200 | Notes | Additional Notes
| Security System | 1 | ls | 0.2 | 0 | 29207.84 | 29207.84 | 5841.568 | 0 | Pasco 182,549.56 *400/2500 (note - Pasco included door controls)
| Site Lighting | 6 | ea | 4 | 0 | 1275 | 7650 | 5100 | 0 | RS Means 26 56 13.1 2880 16' high light pole
| Office/Storage Exterior Lighting | 8 | ea | 2 | 0 | 188 | 1504 | 376 | 0
| Subtotal | [5 empty] | 38361.84 | 11317.568 | 0
Non-Process Infrastructure | [5 empty] | Subtotal | 418815.84 | 479080.408 | 479080.408
Engineering Additional Equipment
| Equipment Cost | Min | Max | Factor | Factored Cost
| 0 | 10% | 20% | 10% | 0
| 0 | 10% | 20% | 10% | 0
Total |  |  |  |  | 0

## Sales Tax and Escalation
2024 Sales Tax Rates by State (July) ¦ State & Local Sales Taxes | [7 empty] | Chosen State | PPI Commodity data for Final demand-Construction for private capital investment, seasonally adjusted WPSFD431 | [12 empty] | CPI All items in U.S. city average, all urban consumers, not seasonally adjusted CUUR0000SA0 (Adjusted by -116.33)
State |  | State Tax Rate | State Tax Rank | Avg. Local Tax Rate | Combined Rate | Combined Rank | Max Local Tax Rate | 37 | Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Alabama | 1 | 4% | 40 | 5.289% | 9.289% | 5 | 7.5% | Tax Exempt? | 2009 | Nov: 100; Dec: 99.9 | 2009 | 94.813 | 95.863 | 96.379 | 96.91 | 97.526 | 99.363 | 99.021 | 99.504 | 99.639 | 99.847 | 100 | 99.619
Alaska | 2 | 0% | 46 | 1.821% | 1.821% | 46 | 7.85% | 1 | 2010 | 100 | 100 | 99.8 | 100 | 99.9 | 99.9 | 100 | 99.9 | 99.9 | 100.3 | 100.1 | 100.2 | 2010 | 100.357 | 100.411 | 101.301 | 101.679 | 101.848 | 101.635 | 101.681 | 101.982 | 102.109 | 102.381 | 102.473 | 102.849
Arizona | 3 | 5.6% | 28 | 2.783% | 8.383% | 12 | 5.3% |  | 2011 | 100.6 | 100.6 | 100.6 | 101.5 | 101.4 | 101.4 | 102.6 | 102.6 | 102.6 | 104 | 104.1 | 104 | 2011 | 103.893 | 104.979 | 107.137 | 108.576 | 109.634 | 109.392 | 109.592 | 110.215 | 110.559 | 110.091 | 109.9 | 109.342
Arkansas | 4 | 6.5% | 9 | 2.969% | 9.469% | 3 | 6.125% |  | 2012 | 104.7 | 104.7 | 104.8 | 105.3 | 105.4 | 105.4 | 105.4 | 105.4 | 105.3 | 105.6 | 105.5 | 105.6 | 2012 | 110.335 | 111.333 | 113.062 | 113.755 | 113.485 | 113.148 | 112.774 | 114.049 | 115.077 | 114.987 | 113.891 | 113.271
California (a) | 5 | 7.25% | 1 | 1.552% | 8.802% | 8 | 4.75% |  | 2013 | 106.2 | 106.1 | 106.1 | 106.5 | 106.7 | 106.7 | 107.3 | 107.3 | 107.5 | 108.9 | 108.9 | 109.1 | 2013 | 113.95 | 115.836 | 116.443 | 116.201 | 116.615 | 117.174 | 117.266 | 117.547 | 117.819 | 117.216 | 116.739 | 116.719
Colorado | 6 | 2.9% | 45 | 4.907% | 7.807% | 16 | 8.3% |  | 2014 | 109.7 | 109.7 | 109.8 | 110.1 | 110.1 | 110.2 | 110.6 | 110.7 | 110.7 | 111.3 | 111.2 | 111.4 | 2014 | 117.586 | 118.451 | 119.963 | 120.742 | 121.57 | 122.013 | 121.92 | 121.522 | 121.701 | 121.103 | 119.821 | 118.482
Connecticut | 7 | 6.35% | 12 | 0% | 6.35% | 33 | 0% |  | 2015 | 112 | 112 | 112 | 111.9 | 112 | 112 | 112.7 | 112.7 | 112.7 | 113.7 | 113.6 | 113.6 | 2015 | 117.377 | 118.392 | 119.789 | 120.269 | 121.475 | 122.308 | 122.324 | 121.986 | 121.615 | 121.508 | 121.006 | 120.195
Delaware | 8 | 0% | 46 | 0% | 0% | 47 | 0% |  | 2016 | 113.3 | 113.2 | 113.1 | 114.2 | 114.2 | 114.2 | 113.6 | 113.6 | 113.6 | 114.6 | 114.5 | 114.5 | 2016 | 120.586 | 120.781 | 121.802 | 122.931 | 123.899 | 124.688 | 124.298 | 124.519 | 125.098 | 125.399 | 125.023 | 125.102
Florida | 9 | 6% | 17 | 1.002% | 7.002% | 24 | 2% |  | 2017 | 114.8 | 114.9 | 114.9 | 115.5 | 115.6 | 115.7 | 117.2 | 117.2 | 117.2 | 117.9 | 117.9 | 118 | 2017 | 126.509 | 127.273 | 127.471 | 128.194 | 128.403 | 128.625 | 128.456 | 129.189 | 130.489 | 130.333 | 130.339 | 130.194
Georgia | 10 | 4% | 40 | 3.423% | 7.423% | 19 | 5% |  | 2018 | 118.9 | 119 | 119 | 120.4 | 120.5 | 120.8 | 121.4 | 121.5 | 121.6 | 123.9 | 124.2 | 124.3 | 2018 | 131.537 | 132.661 | 133.224 | 134.216 | 135.258 | 135.659 | 135.676 | 135.816 | 136.109 | 136.555 | 135.708 | 134.903
Hawaii (b) | 11 | 4% | 40 | 0.5% | 4.5% | 45 | 0.5% |  | 2019 | 125.2 | 125.2 | 125.3 | 127 | 127.1 | 127.1 | 128.1 | 128.1 | 128.3 | 128.8 | 128.9 | 129 | 2019 | 135.382 | 136.446 | 137.872 | 139.218 | 139.762 | 139.813 | 140.241 | 140.228 | 140.429 | 141.016 | 140.878 | 140.644
Idaho | 12 | 6% | 17 | 0.027% | 6.027% | 37 | 3% |  | 2020 | 129.7 | 129.9 | 129.8 | 130.5 | 130.5 | 130.4 | 131.1 | 130.8 | 130.6 | 130.6 | 130.7 | 130.7 | 2020 | 141.641 | 142.348 | 141.785 | 140.059 | 140.064 | 141.467 | 142.771 | 143.588 | 143.95 | 144.058 | 143.899 | 144.144
Illinois | 13 | 6.25% | 13 | 2.621% | 8.871% | 7 | 4.75% |  | 2021 | 131.1 | 131.3 | 131.9 | 133.7 | 134.6 | 134.7 | 137.196 | 137.556 | 137.772 | 147.209 | 147.757 | 148.195 | 2021 | 145.252 | 146.684 | 148.547 | 150.724 | 152.865 | 155.366 | 156.673 | 157.237 | 157.98 | 160.259 | 161.618 | 162.472
Indiana | 14 | 7% | 2 | 0% | 7% | 25 | 0% |  | 2022 | 153.666 | 154.632 | 155.532 | 161.477 | 162.062 | 163.025 | 172.019 | 172.298 | 172.658 | 177.229 | 177.358 | 177.474 | 2022 | 164.818 | 167.386 | 171.174 | 172.779 | 175.966 | 179.981 | 179.946 | 179.841 | 180.478 | 181.682 | 181.381 | 180.467
Iowa | 15 | 6% | 17 | 0.943% | 6.943% | 29 | 2% |  | 2023 | 180.849 | 180.876 | 181.016 | 180.752 | 180.975 | 181.049 | 178.756 | 178.944 | 179.053 | 178.557 | 178.171 | 178.291 | 2023 | 182.84 | 184.51 | 185.506 | 187.033 | 187.797 | 188.779 | 189.361 | 190.696 | 191.459 | 191.341 | 190.721 | 190.416
Kansas | 16 | 6.5% | 9 | 2.276% | 8.776% | 9 | 4.25% |  | 2024 | 178.761 | 178.693 | 178.907 | 178.874 | 178.997 | 179.66 | 180.747 | 180.675 | 180.911 | 180.411 | 180.436 | 180.75 | 2024 | 192.087 | 193.996 | 196.002 | 197.218 | 197.739 | 197.845 | 198.21 | 198.466 | 198.971 | 199.334 | 199.163 | 199.275
Kentucky | 17 | 6% | 17 | 0% | 6% | 38 | 0% |  | 2025 | Jan: 181.291; Feb: 181.09 | 2025 | 201.341 | 202.752
Louisiana | 18 | 4.45% | 37 | 5.115% | 9.565% | 1 | 7% |  | 2026 | [12 empty] | 2026
Maine | 19 | 5.5% | 29 | 0% | 5.5% | 43 | 0%
Maryland | 20 | 6% | 17 | 0% | 6% | 38 | 0% |  | P : Preliminary. All indexes are subject to monthly revisions up to four months after original publication.
Massachusetts | 21 | 6.25% | 13 | 0% | 6.25% | 35 | 0%
Michigan | 22 | 6% | 17 | 0% | 6% | 38 | 0% |  | Date | Jan: Value; Feb: Date; Mar: Value
Minnesota | 23 | 6.88% | 6 | 1.248% | 8.123% | 15 | 3% |  | 2009-11-01 | Jan: 100; Feb: 2009-01-01; Mar: 94.813
Mississippi | 24 | 7% | 2 | 0.062% | 7.062% | 22 | 1% |  | 2009-12-01 | Jan: 99.9; Feb: 2009-02-01; Mar: 95.863
Missouri | 25 | 4.225% | 38 | 4.161% | 8.386% | 11 | 5.875% |  | 2010-01-01 | Jan: 100; Feb: 2009-03-01; Mar: 96.379
Montana (c) | 26 | 0% | 46 | 0% | 0% | 47 | 0% |  | 2010-02-01 | Jan: 100; Feb: 2009-04-01; Mar: 96.91
Nebraska | 27 | 5.5% | 29 | 1.469% | 6.969% | 28 | 2% |  | 2010-03-01 | Jan: 99.8; Feb: 2009-05-01; Mar: 97.526
Nevada | 28 | 6.85% | 7 | 1.386% | 8.236% | 13 | 1.525% |  | 2010-04-01 | Jan: 100; Feb: 2009-06-01; Mar: 99.363
New Hampshire | 29 | 0% | 46 | 0% | 0% | 47 | 0% |  | 2010-05-01 | Jan: 99.9; Feb: 2009-07-01; Mar: 99.021
New Jersey (d) | 30 | 6.625% | 8 | -0.024% | 6.601% | 30 | 3.313% |  | 2010-06-01 | Jan: 99.9; Feb: 2009-08-01; Mar: 99.504
New Mexico (b) | 31 | 4.875% | 34 | 2.751% | 7.626% | 17 | 4.563% |  | 2010-07-01 | Jan: 100; Feb: 2009-09-01; Mar: 99.639
New York | 32 | 4% | 40 | 4.532% | 8.532% | 10 | 4.875% |  | 2010-08-01 | Jan: 99.9; Feb: 2009-10-01; Mar: 99.847
North Carolina | 33 | 4.75% | 35 | 2.246% | 6.996% | 27 | 2.75% |  | 2010-09-01 | Jan: 99.9; Feb: 2009-11-01; Mar: 100
North Dakota | 34 | 5% | 32 | 2.044% | 7.044% | 23 | 3.5% |  | 2010-10-01 | Jan: 100.3; Feb: 2009-12-01; Mar: 99.619
Ohio | 35 | 5.75% | 27 | 1.488% | 7.238% | 21 | 2.25% |  | 2010-11-01 | Jan: 100.1; Feb: 2010-01-01; Mar: 100.357
Oklahoma | 36 | 4.5% | 36 | 4.503% | 9.003% | 6 | 7% |  | 2010-12-01 | Jan: 100.2; Feb: 2010-02-01; Mar: 100.411
Oregon | 37 | 0% | 46 | 0% | 0% | 47 | 0% |  | 2011-01-01 | Jan: 100.6; Feb: 2010-03-01; Mar: 101.301
Pennsylvania | 38 | 6% | 17 | 0.341% | 6.341% | 34 | 2% |  | 2011-02-01 | Jan: 100.6; Feb: 2010-04-01; Mar: 101.679
Rhode Island | 39 | 7% | 2 | 0% | 7% | 25 | 0% |  | 2011-03-01 | Jan: 100.6; Feb: 2010-05-01; Mar: 101.848
South Carolina | 40 | 6% | 17 | 1.499% | 7.499% | 18 | 3% |  | 2011-04-01 | Jan: 101.5; Feb: 2010-06-01; Mar: 101.635; May: Escalation Calculator
South Dakota (b) | 41 | 4.2% | 39 | 1.911% | 6.111% | 36 | 4.5% |  | 2011-05-01 | Jan: 101.4; Feb: 2010-07-01; Mar: 101.681; May: Index; Jun: OG; Jul: Current; Aug: Percent
Tennessee | 42 | 7% | 2 | 2.556% | 9.556% | 2 | 2.75% |  | 2011-06-01 | Jan: 101.4; Feb: 2010-08-01; Mar: 101.982; May: PPI; Jun: 180.75; Jul: 185.450; Aug: 1.026
Texas | 43 | 6.25% | 13 | 1.95% | 8.2% | 14 | 2% |  | 2011-07-01 | Jan: 102.6; Feb: 2010-09-01; Mar: 102.109; May: CPI; Jun: 315.605; Jul: 324.05; Aug: 1.0268
Utah (a) | 44 | 6.1% | 16 | 1.159% | 7.259% | 20 | 4.2% |  | 2011-08-01 | Jan: 102.6; Feb: 2010-10-01; Mar: 102.381
Vermont | 45 | 6% | 17 | 0.372% | 6.372% | 32 | 1% |  | 2011-09-01 | Jan: 102.6; Feb: 2010-11-01; Mar: 102.473
Virginia (a) | 46 | 5.3% | 31 | 0.471% | 5.771% | 41 | 2.7% |  | 2011-10-01 | 104 | 2010-12-01 | 102.849 |  | Calendar | GMT | Reference | Reference_1 | Actual | Previous | Consensus | TEForecast
Washington | 47 | 6.5% | 9 | 2.952% | 9.452% | 4 | 4.1% |  | 2011-11-01 | 104.1 | 2011-01-01 | 103.893 |  | 2025-12-18 | 13:30 | CPI | Nov | 324.12 |  | 325.13 | 324.9
West Virginia | 48 | 6% | 17 | 0.569% | 6.569% | 31 | 1% |  | 2011-12-01 | 104 | 2011-02-01 | 104.979 |  | 2026-01-13 | 13:30 | CPI | Dec | 324.05 | 324.12 |  | 323.8
Wisconsin | 49 | 5% | 32 | 0.696% | 5.696% | 42 | 2.9% |  | 2012-01-01 | 104.7 | 2011-03-01 | 107.137 |  | 2026-02-13 | 13:30 | CPI | Jan |  | 324.05 | 325.41 | 325.3
Wyoming | 50 | 4% | 40 | 1.441% | 5.441% | 44 | 2% |  | 2012-02-01 | Jan: 104.7; Feb: 2011-04-01; Mar: 108.576
District of Columbia | 51 | 6% | N/A | 0% | 6% | N/A | 0% |  | 2012-03-01 | Jan: 104.8; Feb: 2011-05-01; Mar: 109.634; May: Column1; Jun: Column2; Jul: Column3
[9 empty] | 2012-04-01 | Jan: 105.3; Feb: 2011-06-01; Mar: 109.392; May: Dec 2025:; Jun: 185.450
Note: City, county and municipal rates vary. Local rates are weighted by population to compute an average local tax rate. | [8 empty] | 2012-05-01 | Jan: 105.4; Feb: 2011-07-01; Mar: 109.592; May: Nov 2025:; Jun: 185.291
(a) Three states levy mandatory, statewide, local add-on sales taxes at the state level: California (1.25%), Utah (1.25%), and Virginia (1%). We include these in their state sales tax. | [8 empty] | 2012-06-01 | Jan: 105.4; Feb: 2011-08-01; Mar: 110.215; May: Oct 2025:; Jun: 185.311
(b) The sales taxes in Hawaii, New Mexico, and South Dakota have broad bases that include many business-to-business services. | [8 empty] | 2012-07-01 | Jan: 105.4; Feb: 2011-09-01; Mar: 110.559; May: Sep 2025:; Jun: 182.054
(c) Special taxes in local resort areas are not counted here. | [8 empty] | 2012-08-01 | Jan: 105.4; Feb: 2011-10-01; Mar: 110.091; May: Aug 2025:; Jun: 182.072
(d) Salem County, N.J., is not subject to the statewide sales tax rate and collects a local rate of 3.3125%. New Jersey’s local score is represented as a negative. | [8 empty] | 2012-09-01 | Jan: 105.3; Feb: 2011-11-01; Mar: 109.9; May: View All; Jun: View All
Sources: Sales Tax Clearinghouse; Tax Foundation calculations; State Revenue Department websites. | [8 empty] | 2012-10-01 | Jan: 105.6; Feb: 2011-12-01; Mar: 109.342
[9 empty] | 2012-11-01 | Jan: 105.5; Feb: 2012-01-01; Mar: 110.335
[9 empty] | 2012-12-01 | Jan: 105.6; Feb: 2012-02-01; Mar: 111.333
[9 empty] | 2013-01-01 | Jan: 106.2; Feb: 2012-03-01; Mar: 113.062
[9 empty] | 2013-02-01 | Jan: 106.1; Feb: 2012-04-01; Mar: 113.755
[9 empty] | 2013-03-01 | Jan: 106.1; Feb: 2012-05-01; Mar: 113.485
[9 empty] | 2013-04-01 | Jan: 106.5; Feb: 2012-06-01; Mar: 113.148
[9 empty] | 2013-05-01 | Jan: 106.7; Feb: 2012-07-01; Mar: 112.774
[9 empty] | 2013-06-01 | Jan: 106.7; Feb: 2012-08-01; Mar: 114.049
[9 empty] | 2013-07-01 | Jan: 107.3; Feb: 2012-09-01; Mar: 115.077
[9 empty] | 2013-08-01 | Jan: 107.3; Feb: 2012-10-01; Mar: 114.987
[9 empty] | 2013-09-01 | Jan: 107.5; Feb: 2012-11-01; Mar: 113.891
[9 empty] | 2013-10-01 | Jan: 108.9; Feb: 2012-12-01; Mar: 113.271
[9 empty] | 2013-11-01 | Jan: 108.9; Feb: 2013-01-01; Mar: 113.95
[9 empty] | 2013-12-01 | Jan: 109.1; Feb: 2013-02-01; Mar: 115.836
[9 empty] | 2014-01-01 | Jan: 109.7; Feb: 2013-03-01; Mar: 116.443
[9 empty] | 2014-02-01 | Jan: 109.7; Feb: 2013-04-01; Mar: 116.201
[9 empty] | 2014-03-01 | Jan: 109.8; Feb: 2013-05-01; Mar: 116.615
[9 empty] | 2014-04-01 | Jan: 110.1; Feb: 2013-06-01; Mar: 117.174
[9 empty] | 2014-05-01 | Jan: 110.1; Feb: 2013-07-01; Mar: 117.266
[9 empty] | 2014-06-01 | Jan: 110.2; Feb: 2013-08-01; Mar: 117.547
[9 empty] | 2014-07-01 | Jan: 110.6; Feb: 2013-09-01; Mar: 117.819
[9 empty] | 2014-08-01 | Jan: 110.7; Feb: 2013-10-01; Mar: 117.216
[9 empty] | 2014-09-01 | Jan: 110.7; Feb: 2013-11-01; Mar: 116.739
[9 empty] | 2014-10-01 | Jan: 111.3; Feb: 2013-12-01; Mar: 116.719
[9 empty] | 2014-11-01 | Jan: 111.2; Feb: 2014-01-01; Mar: 117.586
[9 empty] | 2014-12-01 | Jan: 111.4; Feb: 2014-02-01; Mar: 118.451
[9 empty] | 2015-01-01 | Jan: 112; Feb: 2014-03-01; Mar: 119.963
[9 empty] | 2015-02-01 | Jan: 112; Feb: 2014-04-01; Mar: 120.742
[9 empty] | 2015-03-01 | Jan: 112; Feb: 2014-05-01; Mar: 121.57
[9 empty] | 2015-04-01 | Jan: 111.9; Feb: 2014-06-01; Mar: 122.013
[9 empty] | 2015-05-01 | Jan: 112; Feb: 2014-07-01; Mar: 121.92
[9 empty] | 2015-06-01 | Jan: 112; Feb: 2014-08-01; Mar: 121.522
[9 empty] | 2015-07-01 | Jan: 112.7; Feb: 2014-09-01; Mar: 121.701
[9 empty] | 2015-08-01 | Jan: 112.7; Feb: 2014-10-01; Mar: 121.103
[9 empty] | 2015-09-01 | Jan: 112.7; Feb: 2014-11-01; Mar: 119.821
[9 empty] | 2015-10-01 | Jan: 113.7; Feb: 2014-12-01; Mar: 118.482
[9 empty] | 2015-11-01 | Jan: 113.6; Feb: 2015-01-01; Mar: 117.377
[9 empty] | 2015-12-01 | Jan: 113.6; Feb: 2015-02-01; Mar: 118.392
[9 empty] | 2016-01-01 | Jan: 113.3; Feb: 2015-03-01; Mar: 119.789
[9 empty] | 2016-02-01 | Jan: 113.2; Feb: 2015-04-01; Mar: 120.269
[9 empty] | 2016-03-01 | Jan: 113.1; Feb: 2015-05-01; Mar: 121.475
[9 empty] | 2016-04-01 | Jan: 114.2; Feb: 2015-06-01; Mar: 122.308
[9 empty] | 2016-05-01 | Jan: 114.2; Feb: 2015-07-01; Mar: 122.324
[9 empty] | 2016-06-01 | Jan: 114.2; Feb: 2015-08-01; Mar: 121.986
[9 empty] | 2016-07-01 | Jan: 113.6; Feb: 2015-09-01; Mar: 121.615
[9 empty] | 2016-08-01 | Jan: 113.6; Feb: 2015-10-01; Mar: 121.508
[9 empty] | 2016-09-01 | Jan: 113.6; Feb: 2015-11-01; Mar: 121.006
[9 empty] | 2016-10-01 | Jan: 114.6; Feb: 2015-12-01; Mar: 120.195
[9 empty] | 2016-11-01 | Jan: 114.5; Feb: 2016-01-01; Mar: 120.586
[9 empty] | 2016-12-01 | Jan: 114.5; Feb: 2016-02-01; Mar: 120.781
[9 empty] | 2017-01-01 | Jan: 114.8; Feb: 2016-03-01; Mar: 121.802
[9 empty] | 2017-02-01 | Jan: 114.9; Feb: 2016-04-01; Mar: 122.931
[9 empty] | 2017-03-01 | Jan: 114.9; Feb: 2016-05-01; Mar: 123.899
[9 empty] | 2017-04-01 | Jan: 115.5; Feb: 2016-06-01; Mar: 124.688
[9 empty] | 2017-05-01 | Jan: 115.6; Feb: 2016-07-01; Mar: 124.298
[9 empty] | 2017-06-01 | Jan: 115.7; Feb: 2016-08-01; Mar: 124.519
[9 empty] | 2017-07-01 | Jan: 117.2; Feb: 2016-09-01; Mar: 125.098
[9 empty] | 2017-08-01 | Jan: 117.2; Feb: 2016-10-01; Mar: 125.399
[9 empty] | 2017-09-01 | Jan: 117.2; Feb: 2016-11-01; Mar: 125.023
[9 empty] | 2017-10-01 | Jan: 117.9; Feb: 2016-12-01; Mar: 125.102
[9 empty] | 2017-11-01 | Jan: 117.9; Feb: 2017-01-01; Mar: 126.509
[9 empty] | 2017-12-01 | Jan: 118; Feb: 2017-02-01; Mar: 127.273
[9 empty] | 2018-01-01 | Jan: 118.9; Feb: 2017-03-01; Mar: 127.471
[9 empty] | 2018-02-01 | Jan: 119; Feb: 2017-04-01; Mar: 128.194
[9 empty] | 2018-03-01 | Jan: 119; Feb: 2017-05-01; Mar: 128.403
[9 empty] | 2018-04-01 | Jan: 120.4; Feb: 2017-06-01; Mar: 128.625
[9 empty] | 2018-05-01 | Jan: 120.5; Feb: 2017-07-01; Mar: 128.456
[9 empty] | 2018-06-01 | Jan: 120.8; Feb: 2017-08-01; Mar: 129.189
[9 empty] | 2018-07-01 | Jan: 121.4; Feb: 2017-09-01; Mar: 130.489
[9 empty] | 2018-08-01 | Jan: 121.5; Feb: 2017-10-01; Mar: 130.333
[9 empty] | 2018-09-01 | Jan: 121.6; Feb: 2017-11-01; Mar: 130.339
[9 empty] | 2018-10-01 | Jan: 123.9; Feb: 2017-12-01; Mar: 130.194
[9 empty] | 2018-11-01 | Jan: 124.2; Feb: 2018-01-01; Mar: 131.537
[9 empty] | 2018-12-01 | Jan: 124.3; Feb: 2018-02-01; Mar: 132.661
[9 empty] | 2019-01-01 | Jan: 125.2; Feb: 2018-03-01; Mar: 133.224
[9 empty] | 2019-02-01 | Jan: 125.2; Feb: 2018-04-01; Mar: 134.216
[9 empty] | 2019-03-01 | Jan: 125.3; Feb: 2018-05-01; Mar: 135.258
[9 empty] | 2019-04-01 | Jan: 127; Feb: 2018-06-01; Mar: 135.659
[9 empty] | 2019-05-01 | Jan: 127.1; Feb: 2018-07-01; Mar: 135.676
[9 empty] | 2019-06-01 | Jan: 127.1; Feb: 2018-08-01; Mar: 135.816
[9 empty] | 2019-07-01 | Jan: 128.1; Feb: 2018-09-01; Mar: 136.109
[9 empty] | 2019-08-01 | Jan: 128.1; Feb: 2018-10-01; Mar: 136.555
[9 empty] | 2019-09-01 | Jan: 128.3; Feb: 2018-11-01; Mar: 135.708
[9 empty] | 2019-10-01 | Jan: 128.8; Feb: 2018-12-01; Mar: 134.903
[9 empty] | 2019-11-01 | Jan: 128.9; Feb: 2019-01-01; Mar: 135.382
[9 empty] | 2019-12-01 | Jan: 129; Feb: 2019-02-01; Mar: 136.446
[9 empty] | 2020-01-01 | Jan: 129.7; Feb: 2019-03-01; Mar: 137.872
[9 empty] | 2020-02-01 | Jan: 129.9; Feb: 2019-04-01; Mar: 139.218
[9 empty] | 2020-03-01 | Jan: 129.8; Feb: 2019-05-01; Mar: 139.762
[9 empty] | 2020-04-01 | Jan: 130.5; Feb: 2019-06-01; Mar: 139.813
[9 empty] | 2020-05-01 | Jan: 130.5; Feb: 2019-07-01; Mar: 140.241
[9 empty] | 2020-06-01 | Jan: 130.4; Feb: 2019-08-01; Mar: 140.228
[9 empty] | 2020-07-01 | Jan: 131.1; Feb: 2019-09-01; Mar: 140.429
[9 empty] | 2020-08-01 | Jan: 130.8; Feb: 2019-10-01; Mar: 141.016
[9 empty] | 2020-09-01 | Jan: 130.6; Feb: 2019-11-01; Mar: 140.878
[9 empty] | 2020-10-01 | Jan: 130.6; Feb: 2019-12-01; Mar: 140.644
[9 empty] | 2020-11-01 | Jan: 130.7; Feb: 2020-01-01; Mar: 141.641
[9 empty] | 2020-12-01 | Jan: 130.7; Feb: 2020-02-01; Mar: 142.348
[9 empty] | 2021-01-01 | Jan: 131.1; Feb: 2020-03-01; Mar: 141.785
[9 empty] | 2021-02-01 | Jan: 131.3; Feb: 2020-04-01; Mar: 140.059
[9 empty] | 2021-03-01 | Jan: 131.9; Feb: 2020-05-01; Mar: 140.064
[9 empty] | 2021-04-01 | Jan: 133.7; Feb: 2020-06-01; Mar: 141.467
[9 empty] | 2021-05-01 | Jan: 134.6; Feb: 2020-07-01; Mar: 142.771
[9 empty] | 2021-06-01 | Jan: 134.7; Feb: 2020-08-01; Mar: 143.588
[9 empty] | 2021-07-01 | Jan: 137.196; Feb: 2020-09-01; Mar: 143.95
[9 empty] | 2021-08-01 | Jan: 137.556; Feb: 2020-10-01; Mar: 144.058
[9 empty] | 2021-09-01 | Jan: 137.772; Feb: 2020-11-01; Mar: 143.899
[9 empty] | 2021-10-01 | Jan: 147.209; Feb: 2020-12-01; Mar: 144.144
[9 empty] | 2021-11-01 | Jan: 147.757; Feb: 2021-01-01; Mar: 145.252
[9 empty] | 2021-12-01 | Jan: 148.195; Feb: 2021-02-01; Mar: 146.684
[9 empty] | 2022-01-01 | Jan: 153.666; Feb: 2021-03-01; Mar: 148.547
[9 empty] | 2022-02-01 | Jan: 154.632; Feb: 2021-04-01; Mar: 150.724
[9 empty] | 2022-03-01 | Jan: 155.532; Feb: 2021-05-01; Mar: 152.865
[9 empty] | 2022-04-01 | Jan: 161.477; Feb: 2021-06-01; Mar: 155.366
[9 empty] | 2022-05-01 | Jan: 162.062; Feb: 2021-07-01; Mar: 156.673
[9 empty] | 2022-06-01 | Jan: 163.025; Feb: 2021-08-01; Mar: 157.237
[9 empty] | 2022-07-01 | Jan: 172.019; Feb: 2021-09-01; Mar: 157.98
[9 empty] | 2022-08-01 | Jan: 172.298; Feb: 2021-10-01; Mar: 160.259
[9 empty] | 2022-09-01 | Jan: 172.658; Feb: 2021-11-01; Mar: 161.618
[9 empty] | 2022-10-01 | Jan: 177.229; Feb: 2021-12-01; Mar: 162.472
[9 empty] | 2022-11-01 | Jan: 177.358; Feb: 2022-01-01; Mar: 164.818
[9 empty] | 2022-12-01 | Jan: 177.474; Feb: 2022-02-01; Mar: 167.386
[9 empty] | 2023-01-01 | Jan: 180.849; Feb: 2022-03-01; Mar: 171.174
[9 empty] | 2023-02-01 | Jan: 180.876; Feb: 2022-04-01; Mar: 172.779
[9 empty] | 2023-03-01 | Jan: 181.016; Feb: 2022-05-01; Mar: 175.966
[9 empty] | 2023-04-01 | Jan: 180.752; Feb: 2022-06-01; Mar: 179.981
[9 empty] | 2023-05-01 | Jan: 180.975; Feb: 2022-07-01; Mar: 179.946
[9 empty] | 2023-06-01 | Jan: 181.049; Feb: 2022-08-01; Mar: 179.841
[9 empty] | 2023-07-01 | Jan: 178.756; Feb: 2022-09-01; Mar: 180.478
[9 empty] | 2023-08-01 | Jan: 178.944; Feb: 2022-10-01; Mar: 181.682
[9 empty] | 2023-09-01 | Jan: 179.053; Feb: 2022-11-01; Mar: 181.381
[9 empty] | 2023-10-01 | Jan: 178.557; Feb: 2022-12-01; Mar: 180.467
[9 empty] | 2023-11-01 | Jan: 178.171; Feb: 2023-01-01; Mar: 182.84
[9 empty] | 2023-12-01 | Jan: 178.291; Feb: 2023-02-01; Mar: 184.51
[9 empty] | 2024-01-01 | Jan: 178.761; Feb: 2023-03-01; Mar: 185.506
[9 empty] | 2024-02-01 | Jan: 178.693; Feb: 2023-04-01; Mar: 187.033
[9 empty] | 2024-03-01 | Jan: 178.907; Feb: 2023-05-01; Mar: 187.797
[9 empty] | 2024-04-01 | Jan: 178.874; Feb: 2023-06-01; Mar: 188.779
[9 empty] | 2024-05-01 | Jan: 178.997; Feb: 2023-07-01; Mar: 189.361
[9 empty] | 2024-06-01 | Jan: 179.66; Feb: 2023-08-01; Mar: 190.696
[9 empty] | 2024-07-01 | Jan: 180.747; Feb: 2023-09-01; Mar: 191.459
[9 empty] | 2024-08-01 | Jan: 180.675; Feb: 2023-10-01; Mar: 191.341
[9 empty] | 2024-09-01 | Jan: 180.911; Feb: 2023-11-01; Mar: 190.721
[9 empty] | 2024-10-01 | Jan: 180.411; Feb: 2023-12-01; Mar: 190.416
[9 empty] | 2024-11-01 | Jan: 180.436; Feb: 2024-01-01; Mar: 192.087
[9 empty] | 2024-12-01 | Jan: 180.75; Feb: 2024-02-01; Mar: 193.996
[9 empty] | 2025-01-01 | Jan: 181.291; Feb: 2024-03-01; Mar: 196.002
[9 empty] | 2025-02-01 | Jan: 181.09; Feb: 2024-04-01; Mar: 197.218
[11 empty] | 2024-05-01 | 197.739
[11 empty] | 2024-06-01 | 197.845
[11 empty] | 2024-07-01 | 198.21
[11 empty] | 2024-08-01 | 198.466
[11 empty] | 2024-09-01 | 198.971
[11 empty] | 2024-10-01 | 199.334
[11 empty] | 2024-11-01 | 199.163
[11 empty] | 2024-12-01 | 199.275
[11 empty] | 2025-01-01 | 201.341
[11 empty] | 2025-02-01 | 202.752

## Scatterplot
Includes:
Construction
Flare / Product Gas Compressor / Gas Chromotpgraph
GUU
Exludes:
Owner's Cost
Contingency
Interconnect
Site Specific Issues
Engineering
BOP Estimate*
Date | Firm | Site | Stage | Size (SCFM) | Equipment | Construction | Total |  | Flare? | Compressor? | Major Exclusions / Notes | Estimate Link | Size | Conceptual | 30% | 60% | IFC | GUU4 | Capex Model
12.11.2024 | ARCO Murray | Milton | 30% | 800 | 6139406 | 7131098 | 13270504 |  | Burnham $ | n/a | Removed contingency for GMP. Note 30% eng not included. Building Cost missing, includes demo | Link | 800 | #N/A | 13270504 | #N/A | #N/A | #N/A | #N/A
1.31.2025 | T Diamond Bar | OB-3 / Jedi | Conceptual | 800 | 5965067 | 7655808.96 | 13620875.96 |  | n/a | Burnham $ | Proj doenst require flare, excludes lagoon work | Link | 800 | 13620875.96 | #N/A | #N/A | #N/A | #N/A | #N/A
1.23.2025 | Crowder | Columbia | 30% | 400 | 4304257 | 8935000 | 13239257 |  | Burnham $ | Burnham $ | Includes ~$1.7MM in site specific earthworks. Biogas line quoted separately | Link | 400 | #N/A | 13239257 | #N/A | #N/A | #N/A | #N/A
11.25.2024 | Swinerton | Persimmon | Conceptual | 1200 | 6114347 | 12222443.91 | 18336790.91 |  | Swinerton $ | Swinerton $ | Doesn’t include cost for a back-up generator / ATS, excluded lagoon work, doesnt include H2S and Blending | Link | 1200 | 18336790.91 | #N/A | #N/A | #N/A | #N/A | #N/A
Capex_V2 | Burnham | Indiana | Capex Model | 400 |  |  | 11271698 | 18.25% |  |  |  | n/a | 400 | #N/A | #N/A | #N/A | #N/A | #N/A | 11271698
Capex_V2 | Burnham | Indiana | Capex Model | 800 |  |  | 14700208 | 16.68% |  |  |  | n/a | 800 | #N/A | #N/A | #N/A | #N/A | #N/A | 14700208
Capex_V2 | Burnham | Indiana | Capex Model | 1200 |  |  | 15810083 | 13.52% |  |  |  | n/a | 1200 | #N/A | #N/A | #N/A | #N/A | #N/A | 15810083
GUU4 | Burnham |  | GUU4 | 400 |  |  | 9532083 |  |  |  |  | n/a | 400 | #N/A | #N/A | #N/A | #N/A | 9532083 | #N/A
GUU4 | Burnham |  | GUU4 | 800 |  |  | 12598404 |  |  |  |  | n/a | 800 | #N/A | #N/A | #N/A | #N/A | 12598404 | #N/A
GUU4 | Burnham |  | GUU4 | 1200 |  |  | 13927315 |  |  |  |  | n/a | 1200 | #N/A | #N/A | #N/A | #N/A | 13927315 | #N/A
4.8.25 | ARCO Murray | Peoria | 30% | 800 | 5600000 | 6689041 | 12289041 |  |  |  | Note - exludes tariffs, exclues extra contringency for early GMP. Note - flare in construction | Link | 800 | #N/A | 12289041 | #N/A | #N/A | #N/A | #N/A
4.18.25 | Velocity | Persimmons | 30% | 1200 | 6214347 | 8365095 | 14579442 |  |  |  | Note - equipment was for blending only. All equip except GUU in EPC. Add $100k for Burnham office |  | 1200 | #N/A | 14579442 | #N/A | #N/A | #N/A | #N/A
4.18.25 | Swinerton | Persimmons | 30% | 1200 | 6214347 | 9828921 | 16043268 |  |  |  | Note - equipment was for blending only. All equip except GUU in EPC. Add $100k for Burnham office |  | 1200 | #N/A | 16043268 | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[13 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
scatter plot each stage and each size
Scatter plot will need to adjust based on equipment
Note on N26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Gage Pickford can we link the estimates

## Interconnect
BOP Estimate*
Date | Company | Actual? | Site | Size (SCFM) | Total Estimate | Lateral Estimate | Lateral Distance | $/mile | Interconnect Facility | Major Exclusions / Notes | Estimate Link | Size | Conceptual | 30% | 60% | IFC | Actual
2024-10-17 | ONG | Conceptual | Persimmon | 1200 | 1535000 | 535000 | 0.45455 | 1177001.177 | 1000000 |  |  | 1200 | 1000000 | #N/A | #N/A | #N/A | #N/A
2023-01-31 |  | IFC | Pasco | 2500 | 4096735 | 2025000 | 2.7 | 750000 | 2071735 |  |  | 2500 | #N/A | #N/A | #N/A | 2071735 | #N/A
|  | Conceptual | OB-3 | 800 | 2877795 | 582800 | 0.6 | 971333.3333 | 2294995 |  |  | 800 | 2294995 | #N/A | #N/A | #N/A | #N/A
2024-11-07 | UGI | Conceptual | Milton | 800 | 3632550 |  | 0 |  | 3632550 |  |  | 800 | 3632550 | #N/A | #N/A | #N/A | #N/A
2024-02-05 | Dominion | Conceptual | Columbia | 800 | 3500000 | 1140000 | 1.52 | 750000 | 2360000 |  |  | 800 | 2360000 | #N/A | #N/A | #N/A | #N/A
|  | Conceptual | OB-3 | 800 | 3700000 | 450000 | 0.6 | 750000 | 3250000 |  |  | 800 | 3250000 | #N/A | #N/A | #N/A | #N/A
2025-04-10 | Enable | Conceptual | Persimmon | 1200 | 1850000 | 1000000 | 1 | 1000000 | 850000 |  |  | 1200 | 850000 | #N/A | #N/A | #N/A | #N/A
2025-06-12 | Ameren | Conceptual | GPSD | 800 | 3746071 | 37500 | 0.05 | 750000 | 3708571 |  |  | 800 | 3708571 | #N/A | #N/A | #N/A | #N/A
2025-06-25 | Enable | Conceptual | Persimmon | 1200 | 3200000 | 955710 | 1 | 955710 | 2244290 |  |  | 1200 | 2244290 | #N/A | #N/A | #N/A | #N/A
2025-10-10 | Piedmont | Conceptual | Nashville | 1525 | 6529000 | 255000 | 0.34 | 750000 | 6274000 |  |  | 1525 | 6274000 | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[12 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
Averages | [7 empty] | 872671.6123 | 2768614.1 |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
scatter plot each stage and each size
Scatter plot will need to adjust based on equipment
Note on M26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Gage Pickford can we link the estimates

## Commercial
Commercial Items
| Category | Ref. | Metric | Amount | Notes | Ref. | Supporting Calculations
| Subtotal Equipment |  |  | 6747182.1767 |  | (1) | Project Delivery (Mark's Team)
| Subtotal Construction Direct |  |  | 7231469.9837 |  |  |  | Annual Cost | Allocation | Duration | Cost
| Subtotal Interconnect |  |  | 4046804.9793 |  |  |  | $K | % | Months | $K
| Subtotal Construction Management & Indirects |  |  | 2697879.867 |  |  | SPM | 300 | 20% | 18 | 90
| EPC |  |  | 20723337.0067 |  |  | C-PM | 247.5 | 100% | 14 | 288.75
[7 empty] | C-PE | 187.5 | 100% | 12 | 187.5
[7 empty] | Trailer | 60 | 100% | 14 | 70
| Utility Connection Fee |  |  | 250000 | Initial fee to connect to utilities (Pasco $450k) |  | Other | 60 | 100% | 14 | 70
| Insurance |  | 1.5% | 310850.0551 | % of EPC (quotes from McGriff/Marsh) |  | Total |  |  |  | 706.25
| Project Delivery | (1) |  | 1360000 | Internal Labor Cost Estimator
| Dev Costs |  | 3% | 621700.1102 | % of EPC. Project standard
| Dev Fee |  | 0% | 0 | % of EPC. Unique to project
| Ops During Construction | (2) |  | 426000 | Internal Labor Cost Estimator
| Fixtures and Furnishings |  |  | 247000 | Internal Labor Cost Estimator
| Contingency |  | 7.5% | 1554250.2755 | % of EPC. Project standard
[6 empty] | (2) | Ops During Construction
| Total Commercial Items |  |  | 4769800.4408 |  |  |  | Annual Cost | Allocation | Duration | Cost
[8 empty] | $K | % | Months | $K
[7 empty] | Person A | 150 | 100% | 6 | 75
[7 empty] | Person B | 150 | 100% | 4 | 50
[7 empty] | Training/Travel/Etc. | 15 | 100% | 12 | 15
| Escalation % based on CPI | (3) | 5.833% | 815421.376 | % of sum of equipment + direct costs |  | Total |  |  |  | 140
[6 empty] | (3) | Source: https://www.bls.gov/news.release/cpi.t01.htm
Prodeval Price Adjustment
[7 empty] | Effective Date | Date | 2027-06-30 | COD Date
[7 empty] | Inflation | % | 2.5%
[7 empty] | Periods | Months | 28
[7 empty] | Adjustment Factor | Factor | 1.0583
[8 empty] | Start | End
[7 empty] | CPI | 319.082 | 337.6951
[7 empty] | Period | 2025-02-01 | 2027-06-30
[7 empty] | Adj. Period | 2025-02-28 | 2027-06-30
[7 empty] | CPI Change |  | 5.833%

## Finance Export
Discipline | Estimate ($) | 400 scfm GUU | 800 scfm GUU | 1200 scfm GUU | Category | Estimate ($) | 400 scfm | 800 scfm | 1200 scfm | FID | Biogas scfm
Major Equipment | 6747182.1767 | 4129717.984 | 6223596.1085 | 6747182.1767 | Utility Connection Fee | 250000 | 250000 | 250000 | 250000 | 2026-02-12 | 1200 SCFM
GUU | 6113160.8192 | 3495696.6265 | 5589574.751 | 6113160.8192 | Insurance | 310850.0551 | 235371.444 | 296910.7187 | 310850.0551
Flare | 142425.4701 | 142425.4701 | 142425.4701 | 142425.4701 | Project Delivery | 1360000 | 1360000 | 1360000 | 1360000
Compressor | 491595.8874 | 491595.8874 | 491595.8874 | 491595.8874 | Dev Costs | 621700.1102 | 470742.888 | 593821.4374 | 621700.1102
User-Additional Equip | 0 | 0 | 0 | 0 | Fixtures and Furnishings | 247000 | 247000 | 247000 | 247000
User-Additional Equip | 0 | 0 | 0 | 0 | Ops During Construction | 426000 | 426000 | 426000 | 426000
Subtotal Equipment | 6747182.1767 | 4129717.984 | 6223596.1085 | 6747182.1767 | Contingency | 1554250.2755 | 1176857.22 | 1484553.5936 | 1554250.2755
Engineering | 923758.3843 | 672788.4889 | 769258.1425 | 923758.3843 | Total Burnham Costs | 4769800.4408 | 4165971.552 | 4658285.7497 | 4769800.4408
Civil/Structural | 1102429.1993 | 821871.8209 | 1102429.1993 | 1102429.1993
Process Piping / Mechanical | 1312220.6019 | 1002638.3748 | 1312220.6019 | 1312220.6019
Electrical | 1274795.3221 | 925603.9711 | 1238247.2646 | 1274795.3221
Instrumentation / Controls / Automation | 972528.0151 | 972528.0151 | 972528.0151 | 972528.0151
Non-Process Infrastructure | 491537.8239 | 429706.2104 | 491537.8239 | 491537.8239
General Requirements | 1154200.6371 | 805936.9379 | 1089883.544 | 1154200.6371
User -Additional Direct Costs | 0 | 0 | 0 | 0
User -Additional Direct Costs | 0 | 0 | 0 | 0
Subtotal Construction Directs | 7231469.9837 | 5631073.819 | 6976104.5913 | 7231469.9837
General Conditions | 1481737.129 | 1034643.9311 | 1399168.2742 | 1481737.129
Building Permits | 69893.2608 | 48803.959 | 65998.5035 | 69893.2608
Insurance / G&A | 377423.6083 | 263541.3787 | 356391.9189 | 377423.6083
EPC Profit | 768825.8688 | 536843.5492 | 725983.5385 | 768825.8688
Subtotal: Const Mgmt and Indirects | 2697879.867 | 1883832.818 | 2547542.2351 | 2697879.867
User-Interconnect (Base $2,200,000) | 2200000 | 2200000 | 2200000 | 2200000
User-Lateral Miles | 2 | 2 | 2 | 2
Lateral | 1846804.9793 | 1846804.9793 | 1846804.9793 | 1846804.9793
Subtotal Interconnect | 4046804.9793 | 4046804.9793 | 4046804.9793 | 4046804.9793
Sales Tax | 0 | 0 | 0 | 0
Total EPC | 20723337.0067 | 15691429.6002 | 19794047.9142 | 20723337.0067 | Total Capex | 25493137.4475 | 19857401.1523 | 24452333.6639 | 25493137.4475
[5 empty] | ITC Eligible | 22551599.6236 | 16977694.9419 | 21510795.84 | 22551599.6236
Check vs. sum | 0 | 0 | 0 | 0 | Property Tax Eligible | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Check vs. pretty picture tab | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0